نام محصول : نرم افزار مانیتورینگ مرکزی

نوع محصول : CMS

سازنده : شرکت فناوری نوین مرصاد فاطر

مدل : SR-1000

| Feature |  |  |  |
| --- | --- | --- | --- |
| • One 4T enterprise-level hard disk is standard equipped HDMI • 2 HDMI decoding output Built-in Software • Easy7 CMS V9.1.0 |  | System • Linux • English WEB management interface Management Channels • Max 1000 video channels Hard Disk • Support access to 8 hard disks |  |
| K1000 | Calculation Rude | Data Classification | Classification |
| 1000 | Uplink Bandwidth | Network Bandwidth | Data Capacity Index |
| 1000 | 1 Point/Server | Point Number |  |
| 5000 |  | Number of Users |  |
| 1000 |  | Organizational Area |  |
| 0.25 | Year | Number of years |  |
| 1000 |  | Map Punctuation |  |
| 4 |  | Local Decoding Performance (output resolution) |  |
| 180 | 2M/Point | Video Storage Performance |  |
| 180 | 2M/Point | Video Forwarding Performance |  |
| 4 | 2M/Point | Client Configuration i5-9500 16G Video Preview (decode using CPU) Google versions below 9.0 support this capability | No Plug-In |
|  | /1080p/2048/25/H.265 |  |  |
| 8 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 10 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 16 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 5 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.265 |  |  |
| 10 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 12 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 16 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 16 | Sub stream/Code rate |  |  |
|  | 4CIF/2048/25/H.265 |  |  |
| 4 | Main code stream/Code rate | Client Configuration i5-9500 16Gs Video Playback (decode using CPU) | No Plug-In |
|  | /1080p/2048/25/H.265 |  |  |
| 8 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 10 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 16 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 5 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.265 |  |  |
| 10 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 12 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 16 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 16 | Sub stream/Code rate |  |  |
|  | /4CIF/2048/25/H.265 |  |  |
| 1 | Main code stream/Code rate | Client Configuration i5-9500 16G Video Preview (decode using CPU) Edge Browser (version 107) | No Plug-In |
|  | /1080p/2048/25/H.265 |  |  |
| 2 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 4 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 7 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 1 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.265 |  |  |
| 3 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 10 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 16 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 5 | Sub stream/Code rate |  |  |
|  | /8MP/2048/25/H.265 |  |  |
| 1 | Main code stream/Code rate | Client Configuration i5-9500 16Gs Video Playback (decode using CPU) Edge Browser (version 107) | No Plug-In |
|  | /1080p/2048/25/H.265 |  |  |
| 2 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 4 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 7 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 1 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.265 |  |  |
| 3 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.265 |  |  |
| 10 | Main code stream/Code rate |  |  |
|  | /1080p/2048/25/H.264 |  |  |
| 16 | Main code stream/Code rate |  |  |
|  | /720p/2048/25/H.264 |  |  |
| 5 | Sub stream/Code rate |  |  |
|  | /4CIF/2048/25/H.265 |  |  |
| 5 | Concurrent online user | Perform this operation once for online users 30 to 60s | Pressure Performance Index (standard value) |
| 40 | Concurrent online user | An average of 45 seconds | Pressure performance index (peak value) |
| 15 | Per/s | Number of alerts per second |  |
| 4 | 200 Users | Number of concurrent login users per second |  |
| 15M/s, 25pictures/s |  | Light-weight File Storage | File Storage index |
| 0 |  | Decoding Performance |  |
| 1.600.000 |  | Total Log Records | Historical Data Capacity Indicator |
| 4.000.000 |  | Total Alarm Records |  |
| 5.600.000 |  | Data Total | Data Total |